Fire Extinguisher Inspection Checklist

| INSPECTION AND EQUIPMENT DETAILS |  |
| --- | --- |
| Inspector Name: | Inspection Date: |
| Equipment ID: | Manufacture Date: |
| Equipment Class: ☐ A ☐ B ☐ C ☐ D ☐ K |  |
| Type: ☐ Foam ☐ CO2 ☐ Wet Chemical ☐ Water ☐ Powder ☐ Water Mist |  |

If any questions are answered “no,” fix the issue before returning the equipment to service.

| FIRE EXTINGUISHER CRITERIA |  |
| --- | --- |
| Is the signage around the equipment visible and accurate? | ☐ Yes ☐ No |
| Is the area around the equipment free of clutter and puncture hazards? | ☐ Yes ☐ No |
| Is the pressure gauge within an acceptable range for employee use? | ☐ Yes ☐ No |
| Is the equipment free of visible defects (leaks, dents, corrosion, hose tears, etc.)? | ☐ Yes ☐ No |
| Is the safety pin secured in place? | ☐ Yes ☐ No |
| Does the equipment have a clear label with instructions on how to use it? | ☐ Yes ☐ No |
| Is the hose in working condition, free of blockages and debris? | ☐ Yes ☐ No |
| Is the fire extinguisher full of fire suppressant material? | ☐ Yes ☐ No |
| Is the equipment located in a cabinet or mounted securely to the wall? | ☐ Yes ☐ No |
| Is the handle sitting between 3.5 and 5 feet above the ground? | ☐ Yes ☐ No |
| Has all irreparable equipment been removed from service and disposed of? | ☐ Yes ☐ No |
| Has all damaged equipment been removed from service and scheduled for repair? | ☐ Yes ☐ No |
| Has an annual inspection tag been affixed to the equipment? | ☐ Yes ☐ No |
| Does the equipment pass inspection? | ☐ Yes ☐ No |

Inspector Signature: