Flammable Cabinet Inspection Checklist

If you answer “no” to any of these questions, fix the issue until the answer is “yes.”

| Storage Containers |  |
| --- | --- |
| All containers are properly labeled according to both OSHA and NFPA standards. | ☐ Yes ☐ No |
| Flammable liquids are stored inside their original containers. | ☐ Yes ☐ No |
| Storage containers indicate the exact product stored inside them. | ☐ Yes ☐ No |
| Storage drums of 55 gallons or more are bonded to the cabinet floor. | ☐ Yes ☐ No |
| Any materials exceeding 25 gallons are stored inside, not outside, the cabinet. | ☐ Yes ☐ No |
| All containers have lids, and all lids are sealed tightly. | ☐ Yes ☐ No |
| Storage Cabinet |  |
| Cabinet is clearly marked to indicate that it contains flammable materials. | ☐ Yes ☐ No |
| There are no visible leaks inside the cabinet. | ☐ Yes ☐ No |
| All shelves are free from damage and do not show signs of bowing. | ☐ Yes ☐ No |
| There are cleanup materials located next to or inside the cabinet. | ☐ Yes ☐ No |
| Liquids are stored on the bottom of the cabinet and dry materials at the top. | ☐ Yes ☐ No |
| There are bonding cables for workers to transfer materials between containers. | ☐ Yes ☐ No |
| Storage Location |  |
| The storage area is clear of fire hazards and ignition sources. | ☐ Yes ☐ No |
| Clutter is removed from the immediate area. | ☐ Yes ☐ No |
| A fire extinguisher is located near the cabinet and can handle at least Class B fires. | ☐ Yes ☐ No |
| The storage location is well-ventilated. | ☐ Yes ☐ No |
| Smoking is prohibited in the storage location. | ☐ Yes ☐ No |