Hot Work Quiz

1) For certain situations, OSHA requires the use of a hot work permit system.

- True

- False

2) Which of the following activities most likely would NOT require a hot work permit in an industrial complex?

- Welding

- Grinding and chipping

- Painting

- Cutting and soldering

3) A hot work permit program can be created and easily implemented at any size business.

- True

- False

4) Which of the following should be information required on a hot work permit?

- Date of the operation

- Location of the operation

- Fire precautions in place for the operation

- Signature/name of the permit authorizing individual

- All the above

5) Persons doing contract hot work at a company site are responsible for their own hot work safety and do not need to get a hot work permit.

- True

- False

6) Which of the following is a responsibility of the fire watch?

- Make sure all workers have a hot work permit.

- Perform a quick check before starting his/her own hot work activities.

- Check to make sure that fire protection equipment is in place and ready for use.

7) A hot work permit should be limited to a maximum of:

- 2 weeks

- 1 month

- 1 year

- 1 week

8) If there is an acceptable alternative to hot work activities, you should:

- Proceed with the hot work activities, especially if they’re faster or cheaper.

- Complete the job without the hot work activities, eliminating the need for a permit.

9) Which of the following is a responsibility of the authorized gas tester (AGT)?

- Stop hot work if the air readings exceed 5% LEL.

- Monitor the air in a hot work area just before activities begin.

- Write an LEL mitigation plan from scratch.

- Make sure that the air monitoring device is calibrated according to the manufacturer's instructions.

10) Which party should NOT approve or deny a hot work permit?

- Fire Marshal

- Safety Engineer

- Floor Supervisor

- Maintenance Manager

KEY

- a

- c

- a

- e

- b

- c

- d

- b

- d

- c