Pallet Racking Inspection Checklist

If any of the following items are answered with a “no” response, use the notes section at the bottom of the checklist to list out action items to resolve the issue.

| Name: | Date: | Aisle #: |  |
| --- | --- | --- | --- |
| Racking floor fixtures are in good condition. |  |  | ☐ Yes ☐ No |
| Any fixtures securing the racking to the wall are secure. |  |  | ☐ Yes ☐ No |
| All racks are in proper alignment with each other. |  |  | ☐ Yes ☐ No |
| Floor areas are in good condition and free from obstacles. |  |  | ☐ Yes ☐ No |
| Beam connector locks are securely fixed at both ends of the horizontal beam. |  |  | ☐ Yes ☐ No |
| The correct maximum load notices are on display. |  |  | ☐ Yes ☐ No |
| Rack end protectors are installed and in good condition. |  |  | ☐ Yes ☐ No |
| Upright beams are in good condition. |  |  | ☐ Yes ☐ No |
| Cross beams are in good condition. |  |  | ☐ Yes ☐ No |
| There is a system in place to report damage to racking. |  |  | ☐ Yes ☐ No |
| Workers stow the correct types of pallets in the racking. |  |  | ☐ Yes ☐ No |
| Workers inspect pallets before stowing them in the racking. |  |  | ☐ Yes ☐ No |
| Workers place pallets fully inside the pallet racking. |  |  | ☐ Yes ☐ No |
| Shrink wrap overhang is trimmed and properly disposed of. |  |  | ☐ Yes ☐ No |
| Trash and recycling receptacles are located at each end of the racking. |  |  | ☐ Yes ☐ No |
| Traffic routes and PIT lanes are clearly marked in between racking aisles. |  |  | ☐ Yes ☐ No |
| Traffic warning signs are in place and legible. |  |  | ☐ Yes ☐ No |
| Racking is clear of loose items, broken shards of pallets, etc. |  |  | ☐ Yes ☐ No |
| There is no potential for materials to fall out the back side of the racking. |  |  | ☐ Yes ☐ No |
| Safety net on the back side of the racking is in good condition. |  |  | ☐ Yes ☐ No |
| NOTES |  |  |  |