Staircase Inspection Checklist

| Location: | Date: |
| --- | --- |
| Inspector Name: | Inspector Signature: |

| Entrance to staircase is clear of obstructions. | ☐ Yes ☐ No |
| --- | --- |
| Staircase is well-lit and no lightbulbs need to be replaced. | ☐ Yes ☐ No |
| Stair treads are in good condition and free of trip hazards. | ☐ Yes ☐ No |
| The staircase is at least 22 inches wide and 30 inches deep. | ☐ Yes ☐ No |
| Handrails are smooth and free of splinter hazards. | ☐ Yes ☐ No |
| Steps are clear of slip hazards and trip hazards. | ☐ Yes ☐ No |
| Temporary treads are made of solid materials and sized to fit the stair. | ☐ Yes ☐ No |
| Handrails have a minimum load capacity of 200 pounds. | ☐ Yes ☐ No |
| Handrails have at least 3 inches of clearance between the rails and the walls they’re mounted on. | ☐ Yes ☐ No |
| All steps and risers are uniform with each other. | ☐ Yes ☐ No |
| Landings are equal to or wider than the overall stairway width. | ☐ Yes ☐ No |
| Landings are no more than 12 feet apart from each other. | ☐ Yes ☐ No |
| Staircase is closed off to unauthorized personnel. | ☐ Yes ☐ No |